Audit Report

MPT0000_Project DC Name_REV00

Prepared by:

Rory Reid, Willem Weber & Heinrich Wichmann

Master Power Technologies (Pty) Ltd

Table of Content

1	Document Control / Approval	8

2	Executive Summary	8

3	How to Use This Report	9

3.1	Dual-Framework Assessment Approach	9

3.2	Interpretation of Tier Alignment Statements	9

3.3	Use for Immediate Operational Improvement	10

3.4	Use for Medium- and Long-Term Planning	10

3.5	Documentation and Governance Considerations	10

3.6	Use for Risk Management and Governance	11

4	Documents provided by the customer for the audit verification	11

5	Site Selection	12

5.1	Site Selection Due Diligence Confirmation	12

5.2	Risk Assessment	12

5.3	Recommended Actions	12

5.4	Overall Site Selection Summary	13

6	Perimeter Section	13

6.1	Perimeter Due Diligence Confirmation	13

6.2	Risk Assessment	13

6.3	Recommended Actions	13

6.4	Overall Perimeter Wall Summary	13

7	Overall Site Section	13

7.1	Site Observations	13

7.2	Risk Assessment	13

7.3	Recommended Actions	13

7.4	Overall Site Summary	14

8	MV Area	14

8.1	Site Observations	14

8.2	Risk Assessment	14

8.3	Recommended Actions	14

8.4	Overall Site Summary	14

9	Transformer Area	14

9.1	Site Observations	14

9.2	Risk Assessment	14

9.3	Recommended Actions	14

9.4	Overall Site Summary	14

10	AVR Area	15

10.1	Site Observations	15

10.2	Risk Assessment	15

10.3	Recommended Actions	15

10.4	Overall Site Summary	15

11	Generator Area	15

11.1	Site Observations	15

11.2	Risk Assessment	15

11.3	Recommended Actions	15

11.4	Overall Site Summary	15

12	Fuel Area	15

12.1	Site Observations	15

12.2	Risk Assessment	15

12.3	Recommended Actions	16

12.4	Overall Site Summary	16

13	MEP Water Storage	16

13.1	Site Observations	16

13.2	Risk Assessment	16

13.3	Recommended Actions	16

13.4	Overall Site Summary	16

14	Fire Water Storage	16

14.1	Site Observations	16

14.2	Risk Assessment	16

14.3	Recommended Actions	16

14.4	Overall Site Summary	16

15	Water treatment	17

15.1	Site Observations	17

15.2	Risk Assessment	17

15.3	Recommended Actions	17

15.4	Overall Site Summary	17

16	Outdoor Cooing Area (Chiller not Condensers)	17

16.1	Site Observations	17

16.2	Risk Assessment	17

16.3	Recommended Actions	17

16.4	Overall Site Summary	17

Clip on or IAC (Cooling connected to building)	17

16.5	Site Observations	17

16.6	Risk Assessment	17

16.7	Recommended Actions	18

16.8	Overall Site Summary	18

17	Condenser Area DX	18

17.1	Site Observations	18

17.2	Risk Assessment	18

17.3	Recommended Actions	18

17.4	Overall Site Summary	18

18	Main Reception	18

18.1	Site Observations	18

18.2	Risk Assessment	18

18.3	Recommended Actions	18

18.4	Overall Site Summary	18

19	Passage Way(s)	19

19.1	Site Observations	19

19.2	Risk Assessment	19

19.3	Recommended Actions	19

19.4	Overall Site Summary	19

20	Data Hall(s)	19

20.1	Site Observations	19

20.2	Risk Assessment	19

20.3	Recommended Actions	19

20.4	Overall Site Summary	19

21	Data Hall Mechanical Area	19

21.1	Site Observations	19

21.2	Risk Assessment	19

21.3	Recommended Actions	20

21.4	Overall Site Summary	20

22	MMR Area	20

22.1	Site Observations	20

22.2	Risk Assessment	20

22.3	Recommended Actions	20

22.4	Overall Site Summary	20

23	Delivery Area	20

23.1	Site Observations	20

23.2	Risk Assessment	20

23.3	Recommended Actions	20

23.4	Overall Site Summary	20

24	Staging Area	21

24.1	Site Observations	21

24.2	Risk Assessment	21

24.3	Recommended Actions	21

24.4	Overall Site Summary	21

25	NOC Area	21

25.1	Site Observations	21

25.2	Risk Assessment	21

25.3	Recommended Actions	21

25.4	Overall Site Summary	21

26	SOC Area	21

26.1	Site Observations	21

26.2	Risk Assessment	21

26.3	Recommended Actions	22

26.4	Overall Site Summary	22

27	Power Distribution Area(s)	22

27.1	Site Observations	22

27.2	Risk Assessment	22

27.3	Recommended Actions	22

27.4	Overall Site Summary	22

28	UPS / Rectifier Area(s)	22

28.1	Site Observations	22

28.2	Risk Assessment	22

28.3	Recommended Actions	22

28.4	Overall Site Summary	22

29	Battery Area(s)	23

29.1	Site Observations	23

29.2	Risk Assessment	23

29.3	Recommended Actions	23

29.4	Overall Site Summary	23

30	Pre-action Area	23

30.1	Site Observations	23

30.2	Risk Assessment	23

30.3	Recommended Actions	23

30.4	Overall Site Summary	23

31	Fire Pump House	23

31.1	Site Observations	23

31.2	Risk Assessment	23

31.3	Recommended Actions	24

31.4	Overall Site Summary	24

32	Fire Cylinder Arae	24

32.1	Site Observations	24

32.2	Risk Assessment	24

32.3	Recommended Actions	24

32.4	Overall Site Summary	24

33	Conclusion	24

33.1	Overall Assessment	24

33.2	Tier Alignment Summary (Informational)	24

33.3	Strategic Outlook and Path Forward	24

# Document Control / Approval

| Rev | Date | Description | Prepared by | Checked by |
| --- | --- | --- | --- | --- |
| 00 | 00/00/2026 | Description of revision | Name & Surname | Name and Surname |

COPY TO:

| COMPANY | NAME |
| --- | --- |
| Master Power Technologies | Rory Reid – rory@kva.co.za |
| Master Power Technologies | Willem Weber – willemw@kva.co.za |
| Master Power Technologies | Heinrich Wichmann – heinrichw@kva.co.za |
| Stellar-IX | Ken Harris - ken.harris@stellar-ix.com |
| Stellar-IX | Jessica Velosoa – jessica.velosoa@stellar-ix.com |
| Stellar-IX | Paul Schonborn - paul.schonborn@stellar-ix.com |

# Executive Summary

This audit presents an independent technical and operational assessment of the data centre facility against recognised data centre standards and industry good practice, with particular reference to TIA-942 and Uptime Institute Tier intent. The assessment covered site context, perimeter and security, utility and standby power, cooling infrastructure, delivery and logistics interfaces, power distribution, UPS and battery systems, and all active data halls.

The audit was conducted through a combination of on-site inspections, system observation, and interviews with site personnel. A key constraint throughout the assessment was the absence of complete and current as-built documentation. As a result, findings are based primarily on observed conditions and best-effort technical interpretation. This limitation does not reduce the severity of identified risks, but it does highlight a fundamental governance gap that increases operational exposure and complicates future maintenance, fault response, and upgrade activities.

Overall Facility Position

???

Key Strengths Identified

???

Principal Risks and Constraints

???

Facility Support, Operational Enablement, and Governance Constraints

???

Strategic Implications

???

Recommended Path Forward

???

Final Note

???

# How to Use This Report

This report is structured to support decision-making across technical, operational, and executive levels by combining TIA-942 standards-based assessment with Uptime Institute Tier intent evaluation. Unlike a purely compliance-driven audit, this assessment focuses on operational outcome, availability risk, and maintainability, rather than checklist adherence alone.

## Dual-Framework Assessment Approach

Each section of this report may include findings based on:

- TIA-942 requirements and good practice, which assess room classification, zoning, safety, segregation, and minimum design expectations; and

- Uptime Institute Tier intent, which evaluates whether the observed architecture and operation support concurrent maintainability, fault isolation, and predictable recovery without unintended IT impact.

These frameworks are complementary but not identical. A system may align with TIA-942 requirements yet still present Tier-relevant risks, particularly where common-mode exposure, operational dependency, or documentation gaps exist. Conversely, certain configurations may support Tier III operational outcomes despite deviations from idealised TIA good practice.

## Interpretation of Tier Alignment Statements

References to Tier alignment within this report are informational and contextual only. They reflect observed behaviour and configuration relative to Uptime Tier intent and do not constitute formal Tier certification.

Where Tier alignment is described as conditional, this indicates that:

- the intended availability outcome depends on downstream redundancy,

- operational discipline,

- procedural controls, or

- human intervention during abnormal conditions.

Such conditions represent real operational risk and should be treated accordingly in planning and governance decisions.

## Use for Immediate Operational Improvement

Short-term actions identified throughout the report are intended to:

- reduce current operational and safety exposure,

- stabilise availability risk,

- improve maintainability without major redesign.

These actions can generally be implemented within the existing building and infrastructure constraints and should be prioritised where life safety, security, or single-event impact risks are present.

## Use for Medium- and Long-Term Planning

Medium- and long-term recommendations address structural, architectural, and systemic constraints that cannot be fully mitigated through procedural controls alone. These findings should be used to:

- inform capital planning and investment prioritisation,

- guide feasibility and migration studies,

- support strategic decisions regarding consolidation, expansion, or development of new data centre zones.

The overall summaries and conclusion chapters highlight building-level limitations that materially influence long-term Tier defensibility.

## Documentation and Governance Considerations

The absence of complete and verified as-built documentation significantly affects both safety and Tier defensibility. Where documentation is missing, findings are based on best-effort interpretation of observed conditions and staff input.

This limitation does not reduce the importance of the risks identified. Instead, it highlights a governance gap that:

- increases dependency on individual knowledge,

- complicates maintenance and fault response,

- weakens confidence in recovery outcomes during abnormal events.

Re-establishing documentation control is therefore treated as a critical operational stabilisation activity throughout this report.

## Use for Risk Management and Governance

The risk statements within each domain are intended to support:

- internal risk registers,

- audit and compliance reporting,

- executive and board-level decision-making.

Risks are described in terms of availability impact, safety exposure, and operational consequence, rather than purely standards deviation, reflecting the real-world operational focus of the assessment.

To support efficient review at different levels of detail, all higher-level summaries and consolidated observations within this report are presented in blue text. Readers seeking an executive or management-level understanding can navigate the document by reviewing these blue-highlighted sections only, while those requiring full technical detail, evidence, and standards-based analysis should refer to the supporting black-text content that follows each summary. This structure is intentional and is designed to allow the report to function both as a decision-support document and as a detailed technical reference.

# Documents provided by the customer for the audit verification

A critical component of any data-centre audit is the ability to verify site conditions against complete and up-to-date as-built documentation, including architectural layouts, electrical single-line diagrams, grounding and bonding schemes, mechanical and cooling designs, fire-protection zoning, and operational and maintenance records. These documents allow auditors to confirm whether systems are operating as originally engineered, whether modifications have been made correctly, and whether any deviations present technical or safety risks.

During the kick-off meeting, a list of standard documents required for a TIA-942/Uptime-aligned audit was shared with the client. These documents allow verification, not redesign, and ensure that findings are technically precise rather than purely observational. However, the majority of these documents were not available before or during the audit.

The table below summarises the documentation requested and its availability:

Where neither documentation nor definitive personnel input was available, we could not confirm whether observed configurations reflected the original design intent, later modifications, or unplanned changes made over time. In such areas, the findings reflect best-effort interpretation based on what could be seen or tested at the time of the audit.

This limitation does not reduce the severity of the risks identified. It highlights the need to restore proper documentation governance so that future audits, maintenance activities, system isolations, safety procedures, and upgrades can be performed with full technical clarity.

As reflected throughout this report, several short-term actions include rebuilding the missing documentation, tracing electrical and mechanical paths, and re-establishing revision control. These stabilise immediate operational risk. Longer-term planning, including the development of a consolidated new data-centre zone, will further benefit from having a complete and accurate documentation baseline.

# Site Selection

## Site Selection Due Diligence Confirmation

???

### Location and Context

- ???

### Access, Logistics, and Parking

- ???

### Flood Exposure and Drainage Context

- ???

### Boundary and External Conditions

- ???

### Environmental Operating Conditions

- ???

### Strategic Suitability

- ???

## Risk Assessment

- ???

## Recommended Actions

### Short-Term Recommendations

- ???

### Medium to Long-Term Recommendations

- ???

## Overall Site Selection Summary

??? Keep this in blue text

# Perimeter Section

Perimeter Wall and Boundary Protection

Observations

## Perimeter Due Diligence Confirmation

The site perimeter was reviewed to confirm physical demarcation, boundary integrity, access points, guarding arrangements, and security controls supporting a critical infrastructure environment. A defined perimeter exists; however, several perimeter-related controls rely heavily on local procedural decision-making and would benefit from enhanced technical and governance controls to reduce security, safety, and operational risk.

### Boundary Wall and External Conditions

- ???

## Risk Assessment

- ???

## Recommended Actions

### Short-Term Recommendations

- ???

### Medium to Long-Term Recommendations

- ???

## Overall Perimeter Wall Summary

??? Keep this text in blue

# Overall Site Section

## Site Observations

- ???

## Risk Assessment

- ???

## Recommended Actions

### Short-Term Recommendations

- ???

### Medium to Long-Term Recommendations

- ???

## Overall Site Summary

??? Keep this text in blue.

# MV Area

## Site Observations

- ???

## Risk Assessment

- ???

## Recommended Actions

### Short-Term Recommendations

- ???

### Medium to Long-Term Recommendations

- ???

## Overall Site Summary

??? Keep this text in blue.

# Transformer Area

## Site Observations

- ???

## Risk Assessment

- ???

## Recommended Actions

### Short-Term Recommendations

- ???

### Medium to Long-Term Recommendations

- ???

## Overall Site Summary

??? Keep this text in blue.

# AVR Area

## Site Observations

- ???

## Risk Assessment

- ???

## Recommended Actions

### Short-Term Recommendations

- ???

### Medium to Long-Term Recommendations

- ???

## Overall Site Summary

??? Keep this text in blue.

# Generator Area

## Site Observations

- ???

## Risk Assessment

- ???

## Recommended Actions

### Short-Term Recommendations

- ???

### Medium to Long-Term Recommendations

- ???

## Overall Site Summary

??? Keep this text in blue.

# Fuel Area

## Site Observations

- ???

## Risk Assessment

- ???

## Recommended Actions

### Short-Term Recommendations

- ???

### Medium to Long-Term Recommendations

- ???

## Overall Site Summary

??? Keep this text in blue.

# MEP Water Storage

## Site Observations

- ???

## Risk Assessment

- ???

## Recommended Actions

### Short-Term Recommendations

- ???

### Medium to Long-Term Recommendations

- ???

## Overall Site Summary

??? Keep this text in blue.

# Fire Water Storage

## Site Observations

- ???

## Risk Assessment

- ???

## Recommended Actions

### Short-Term Recommendations

- ???

### Medium to Long-Term Recommendations

- ???

## Overall Site Summary

??? Keep this text in blue.

# Water treatment

## Site Observations

- ???

## Risk Assessment

- ???

## Recommended Actions

### Short-Term Recommendations

- ???

### Medium to Long-Term Recommendations

- ???

## Overall Site Summary

??? Keep this text in blue.

# Outdoor Cooing Area (Chiller not Condensers)

## Site Observations

- ???

## Risk Assessment

- ???

## Recommended Actions

### Short-Term Recommendations

- ???

### Medium to Long-Term Recommendations

- ???

## Overall Site Summary

??? Keep this text in blue.

# Clip on or IAC (Cooling connected to building)

## Site Observations

- ???

## Risk Assessment

- ???

## Recommended Actions

### Short-Term Recommendations

- ???

### Medium to Long-Term Recommendations

- ???

## Overall Site Summary

??? Keep this text in blue.

# Condenser Area DX

## Site Observations

- ???

## Risk Assessment

- ???

## Recommended Actions

### Short-Term Recommendations

- ???

### Medium to Long-Term Recommendations

- ???

## Overall Site Summary

??? Keep this text in blue.

# Main Reception

## Site Observations

- ???

## Risk Assessment

- ???

## Recommended Actions

### Short-Term Recommendations

- ???

### Medium to Long-Term Recommendations

- ???

## Overall Site Summary

??? Keep this text in blue.

# Passage Way(s)

## Site Observations

- ???

## Risk Assessment

- ???

## Recommended Actions

### Short-Term Recommendations

- ???

### Medium to Long-Term Recommendations

- ???

## Overall Site Summary

??? Keep this text in blue.

# Data Hall(s)

## Site Observations

- ???

## Risk Assessment

- ???

## Recommended Actions

### Short-Term Recommendations

- ???

### Medium to Long-Term Recommendations

- ???

## Overall Site Summary

??? Keep this text in blue.

# Data Hall Mechanical Area

## Site Observations

- ???

## Risk Assessment

- ???

## Recommended Actions

### Short-Term Recommendations

- ???

### Medium to Long-Term Recommendations

- ???

## Overall Site Summary

??? Keep this text in blue.

# MMR Area

## Site Observations

- ???

## Risk Assessment

- ???

## Recommended Actions

### Short-Term Recommendations

- ???

### Medium to Long-Term Recommendations

- ???

## Overall Site Summary

??? Keep this text in blue.

# Delivery Area

## Site Observations

- ???

## Risk Assessment

- ???

## Recommended Actions

### Short-Term Recommendations

- ???

### Medium to Long-Term Recommendations

- ???

## Overall Site Summary

??? Keep this text in blue.

# Staging Area

## Site Observations

- ???

## Risk Assessment

- ???

## Recommended Actions

### Short-Term Recommendations

- ???

### Medium to Long-Term Recommendations

- ???

## Overall Site Summary

??? Keep this text in blue.

# NOC Area

## Site Observations

- ???

## Risk Assessment

- ???

## Recommended Actions

### Short-Term Recommendations

- ???

### Medium to Long-Term Recommendations

- ???

## Overall Site Summary

??? Keep this text in blue.

# SOC Area

## Site Observations

- ???

## Risk Assessment

- ???

## Recommended Actions

### Short-Term Recommendations

- ???

### Medium to Long-Term Recommendations

- ???

## Overall Site Summary

??? Keep this text in blue.

# Power Distribution Area(s)

## Site Observations

- ???

## Risk Assessment

- ???

## Recommended Actions

### Short-Term Recommendations

- ???

### Medium to Long-Term Recommendations

- ???

## Overall Site Summary

??? Keep this text in blue.

# UPS / Rectifier Area(s)

## Site Observations

- ???

## Risk Assessment

- ???

## Recommended Actions

### Short-Term Recommendations

- ???

### Medium to Long-Term Recommendations

- ???

## Overall Site Summary

??? Keep this text in blue.

# Battery Area(s)

## Site Observations

- ???

## Risk Assessment

- ???

## Recommended Actions

### Short-Term Recommendations

- ???

### Medium to Long-Term Recommendations

- ???

## Overall Site Summary

??? Keep this text in blue.

# Pre-action Area

## Site Observations

- ???

## Risk Assessment

- ???

## Recommended Actions

### Short-Term Recommendations

- ???

### Medium to Long-Term Recommendations

- ???

## Overall Site Summary

??? Keep this text in blue.

# Fire Pump House

## Site Observations

- ???

## Risk Assessment

- ???

## Recommended Actions

### Short-Term Recommendations

- ???

### Medium to Long-Term Recommendations

- ???

## Overall Site Summary

??? Keep this text in blue.

# Fire Cylinder Arae

## Site Observations

- ???

## Risk Assessment

- ???

## Recommended Actions

### Short-Term Recommendations

- ???

### Medium to Long-Term Recommendations

- ???

## Overall Site Summary

??? Keep this text in blue.

# Conclusion

## Overall Assessment

???

## Tier Alignment Summary (Informational)

???

## Strategic Outlook and Path Forward

???